FIRST NOTICE OF LOSS (FNOL) — COMMERCIAL PROPERTY

Claim Number: CLM1001

Policy Number: POL123

Named Insured: Acme Wholesale, LLC

Location of Loss: 200 Warehouse Rd, Plano, TX 75074

State: TX

Date of Loss (Reported): 01/12/2026

Date of Loss (Alleged): 01/10/2026

Cause of Loss (Reported): Accidental water discharge from sprinkler line

Type of Loss: Water damage to stock and building interior

Injuries: None reported

Police/Fire Report: Not applicable

LOSS DESCRIPTION (FNOL.1)

On 01/10/2026, the insured reports that a sprinkler line above Aisle 3 leaked overnight.

Water contacted boxed inventory and damaged drywall/insulation in the northeast wall.

The insured shut off water at approximately 7:40 AM and moved salvageable stock to a dry area.

AFFECTED AREAS (FNOL.2)

- Warehouse Aisle 3 (stock on pallets)

- Northeast wall and adjacent ceiling tile area

- Electrical panel area inspected; no visible damage reported

INITIAL ESTIMATED DAMAGES (FNOL.3)

- Stock: approximately $62,000 (preliminary)

- Building interior (drywall/paint/insulation): approximately $18,000 (preliminary)

- Mitigation/cleanup: unknown at time of report

CONTACTS (FNOL.4)

Primary Contact: Raj Patel (Operations Manager)

Phone: (214) 555-0183

Email: raj.patel@example.com

DOCUMENTS REQUESTED (FNOL.5)

- Photos of damaged areas and inventory

- Inventory list with unit costs

- Repair estimate(s) for building interior

- Mitigation invoice (if applicable)

- Maintenance records for sprinkler/plumbing systems (last 12 months)